## Slide 1: CHM 5681
Circular Dichroism
Source
Sample
Detector

## Slide 2
Sample
Detector
End View
UV-Vis Spectroscopy
Unpolarized Light

## Slide 3
Polarizers

## Slide 4
Polarization of Light
Side View
End View
Vertically Polarized
Horizontally Polarized
http://cddemo.szialab.org/

## Slide 5
Light + Atoms
https://www.reddit.com/user/Tnemirepxe

## Slide 6
Light + Molecules
Source
Strong Absorption
Weak Absorption

## Slide 7
Orientation Dependent Absorption
Angew. Chem. Int. Ed. 2005, 44, 6564 –6568
a axis
b axis

## Slide 8
Polarization of Light
Side View
End View
Vertically Polarized
Horizontally Polarized
http://cddemo.szialab.org/

## Slide 9
Adding Polarized Light
In phase (peak at the same time) + same amplitude
Vertical + Horizontal = 45° diagonal

## Slide 10
Adding Polarized Light
Green peaks when red baselines.
Sum (blue) is always 1.
¼ l (90°) out of phase + same amplitude
Vertical + Horizontal = Circular

## Slide 11
l/4 Wave Plate Polarizer
l/4 Wave Plate Polarizer

## Slide 12
Polarization of Light
Side View
End View
left-circularly polarized
right-circularly polarized

## Slide 13
Adding Polarized Light
In phase (peak at the same time) + same amplitude
left circular + right circular = vertical
Green peaks when red peaks.

## Slide 14
Absorption Spectroscopy
Absorbance:
A = -log T = log P0/P
P0
(power in)
P
(power out)
P0
P

## Slide 15
Chiral Molecules/Materials
Molecules are optically active if it contains at least one chiral center.
Many molecules have no chiral centers and yet are optically active.

## Slide 16
Optical Activity and Symmetry
Which molecules are expected to be optically active?
Molecules with no improper axis of rotation (Sn) are optically active.
Note S1 = σ and S2 = i.
C1, Cn, and Dn
Nonaxial (no rotation)
  - C1, Cs, Ci
Cyclic (rotational)
  -Cn, Cnv, Cnh, Sn
Dihedral (⊥C2)
  - Dn, Dnd, Dnh
Polyhedral
  - T, Th, Td, O, Oh, I, Ih
Linear
  - C∞v, D ∞h
Chiral molecules lack an improper axis of rotation (Sn), a center of symmetry (i) or a mirror plane (σ)!
Also T, O, and I

## Slide 17
DNA is right handed
Amino acids are L
Carbohydrates are D
Alpha Helix is right handed
Origin/Evolution of life
Drug delivery/processing
Olfactory receptors
Chiral Molecules/Materials

## Slide 18
Importance of Chiral Molecules

## Slide 19
(+) –rotates the plane polarized light clockwise (when viewing towards the light source)
(-) –rotates the plane polarized light counterclockwise
R / S system- requires no reference molecule (Cahn–Ingold–Prelog priority rules)
d/l system- referenced vs glyceraldehyde.
(+)/(−) system- related to the direction to which it rotates plane polorized light.
Naming Conventions
R / S, d/l and (+)/(−) are not related.

## Slide 20
The Beer-Lambert Law:
  A = absorbance (unitless, A = log10 P0/P)
  e = molar absorptivity (L mol-1 cm-1)
  l = path length of the sample (cm)
  c = concentration (mol/L or M)
A = e c l
e is the same for D and L
If C are equal:
50:50 D to L
100% D
100% L
Then A is the same.
Assuming the light is unpolarized!
Absorption Spectroscopy

## Slide 21
P0
(power in)
P
(power out)
left-circularly polarized
right-circularly polarized
Circular Absorption
Absorbs more
Smaller P
Absorbs Less
Larger P

## Slide 22
Circular Absorption
Absorbance:
A(left) = log P0(left) /P(left)
A(right) = log P0(right)/P(right)
P0
(power in)
P
(power out)
P0(left)
P(left)

## Slide 23
Circular Dichroism
CD measures the difference between the absorption of left and right handed cirularly-polarized light:
De is typically <10 M-1 cm-1
e is typically > 10,000 cm-1
 = 3298 Δε.
CD spectra reported in ellipticity () or De
e in L/mol cm (liters mol-1 centimeters-1)
 in degrees cm2/dmol-1 (degrees centimeters2 decimol-1)

## Slide 24
Polarizer
Prism
Source
Circular Dichroism
Process:
1) Unpolarized white light
2) Monochrometer
3) Plane polarizer
4) left-right modulator
5) left (then right) through sample
6) measure P for right (then left) through sample

## Slide 25
Spectra
Absorption
Circular Dichroism

## Slide 26
CD Spectrometer
AVIV 202 CD spectrometer
Institute of Molecular Biophysics
170-875 nm
-10oC to 110oC
titrator attachment

## Slide 27
• Determination of secondary structure of proteins
• Investigations of protein-protein interactions
• Investigation of the effect of drug binding
• Protein structure in a membrane
• Stereoselective synthesis
• Dynamic processes
- protein folding
- reaction dynamics
• Non-linear Optics
DNA denaturation
Applications
GCN4-p1 coiled–coil

## Slide 28
CD Spectrometer
JASCO, J-1500 Circular Dichroism Spectrophotometer
PMT detector (163 – 950 nm)
Optional InGaAs detector (up to 1600 nm)
Automated high-throughput (192 samples)
Liquids to films to solid-states

## Slide 29
CD End
Any Questions?