## Slide 1: CHM 5681
Source
hn
Sample
Detector
Emission Quantum Yield
F(em) =
# of photons out
# of photons in

## Slide 2
High Efficiency Emitters
Metal Ion Sensing

## Slide 3
High Efficiency Emitters

## Slide 4
High Efficiency Emitters
OLED

## Slide 5
High Efficiency Emitters
Expression Studies
4-(p-hydroxybenzylidene)- imidazolidin-5-one
Green Fluorescent Protein
Notes: Beta barrel

## Slide 6
High Efficiency Emitters

## Slide 7
High Efficiency Emitters
http://www.glofish.com/

## Slide 8
F =
# of photons emitted
# of photons absorbed
Emission Quantum Yield
Emission Quantum Yield (F)
Source
hn
Sample
Detector
Ground State
(S0)
Singlet Excited State (S1)
hn
hn

## Slide 9
Excited State Decay
F =
# of photons emitted
# of photons absorbed
Non-emissive Decay
Non-radiative Decay
Excitation
Radiative Decay

## Slide 10
Excited State Decay
S0
S1
Energy
kA
kr
knr
Reaction Kinetics
S0
S1
S0
kA
kr + knr
Then the rate Equation:
kA = excitation rate
kr = radiative rate
knr = non-radiative rate
If it is assumed that all processes are first order with respect to number densities of S0 and S1 (nS0 and nS1 in molecules per cm3)

## Slide 11
Excited State Decay
S0
S1
Energy
kA
kr
knr
Rate equation:
kA = excitation rate
kr = radiative rate
knr = non-radiative rate
Sample is illuminated with photons of constant intensity, a steady-state concentration of S1 is rapidly achieved.
dnS1/dt = 0
Substitution for photon flux and the relationship between kA and kr then (math happens):
F = Emission Quantum Yield

## Slide 12
Quantum Yield
=
# of photons emitted
# of photons absorbed
knr
kr

## Slide 13
kr + knr
Rate constants:
kr = radiative
kchem = photochemistry
kdec = decomposition
kET = energy transfer
ket = electron transfer
kPT = proton transfer
ktict = twisted-intramolecular charge transfer
kic = internal conversion
kisc = intersystem crossing
FF =
kr
kr + kchem + kdec + kET + ket + kpt + ktict + kic + kisc …
Non-radiative Rates
FF =
kr

## Slide 14
Quantum Yield:
Emission Quantum Yield

## Slide 15
Emission Quantum Yield

## Slide 16
Emission Quantum Yield
F =
# of photons emitted
# of photons absorbed
= 0 to 1

## Slide 17
1) Internal conversion (kic)
  -non radiative loss via collisions with solvent or via internal vibrations.
2) Quenching
  -interaction with solute molecules capable of quenching excited state
  (kchem, kdec, kET, ket )
3) Intersystem Crossing Rate
4) Temperature
- Increasing the temperature will increase of dynamic quenching
5) Solvent
- viscosity, polarity, and hydrogen bonding characteristics of the solvent
-Increased viscosity reduces the rate of bimolecular collisions
6) pH
- protonated or unprotonated form of the acid or base may be fluorescent
7) Energy Gap Law
Fluorescence Quantum Yield
kr + kchem + kdec + kET + ket + kpt + ktict + kic + kisc …
FF =
kr

## Slide 18
Increase in strength of spin-orbit interaction
Excitation
Fluorescence
Intersystem Crossing
Phosphorescence
S0
S1
E
T1
T2
Intersystem Crossing
Atom Size
ISC
FFluorescence
FPhosphorescence

## Slide 19
Temperature Dependence

## Slide 20
Measuring Quantum Yield
=
# of photons emitted
# of photons absorbed
We don’t get to directly measure F, kr or knr!
We do measure transmittance and emission intensity.
Source
hn
Sample
Detector

## Slide 21
Measuring Quantum Yield
Relative Quantum Yield
“Absolute” Quantum Yield

## Slide 22
Relative Quantum Yield
=
# of photons emitted
# of photons absorbed
If is proportional to the amount of the radiation from the excitation source that is absorbed and Ff .
If = emission intensity
Ff = quantum yield
I0 = incident light intensity
A = absorbance
If ∝ Ff
If ∝ A
If = Ff I0 (1-10-A)

## Slide 23
Relative Quantum Yield
Compare sample (S) fluorescence to reference (R).
FS
FR
=
IS
IR
x
(1-10-AR)
x
(1-10-AS)
nR2
nS2
If = Ff I0 (1-10-A)
Ff ∝ If
If ∝ A
F = quantum yield
I = emission intensity
A = absorbance
n = refractive index
Known
Measured
Reported

## Slide 24
Same instrument settings:
excitation wavelength, slit widths, photomultiplier voltage…
Relative Quantum Yield
FS
FR
=
IS
IR
x
(1-10-AR)
x
(1-10-AS)
nR2
nS2
AR
AS
Absorption
Emission
Reference Emission
Sample Emission
I

## Slide 25
Relative Quantum Yield
FS
FR
=
IS
IR
x
(1-10-AR)
x
(1-10-AS)
nR2
nS2
Sinqi
=
no
ni
Sinqo
Snell’s Law:
nR2
nS2
Sinqi2
Sinqo2
=
Excitation
Emission
Detector
?

## Slide 26
References

## Slide 27
Relative Quantum Yield
Source
P0
Sample
Absorption
Detector
P
Scatter
Reflectance
FS
FR
=
IS
IR
x
(1-10-AR)
x
(1-10-AS)
nR2
nS2
Emission
Detector
IF

## Slide 28
Relative Quantum Yield
[Ru(bpy)3] 2Cl
in H2O
F = 0.042-0.063
[Ru(bpy)3] 2PF6
in MeCN
F = 0.062-0.095

## Slide 29
Relative Quantum Yield
Minimizing Error:
Sample/Reference with similar:
- Emission range
- Quantum yield
Same Solvent
Known Standard
Same Instrument Settings
- Excitation wavelength
- Slit widths
- PMT voltage
FS
FR
=
IS
IR
x
(1-10-AR)
x
(1-10-AS)
nR2
nS2

## Slide 30
Measuring Quantum Yield
Relative Quantum Yield
“Absolute” Quantum Yield

## Slide 31
Absolute Quantum Yield
F =
# of photons emitted
# of photons absorbed
Integrating Sphere
Detector
Source

## Slide 32
Absolute Quantum Yield
Fig. 2. Schematic diagram of integrating sphere (IS) instrument for measuring absolute fluorescence quantum yields. MC1, MC2: monochromators, OF: optical fiber, SC:
sample cell, B: buffle, BT-CCD: back-thinned CCD, PC: personal computer.
Hamamatsu: C9920-02
(99% reﬂectance for wavelengths from 350 to 1650 nm and over 96% reflectance for wavelengths from 250 to 350 nm)

## Slide 33
Absolute Quantum Yield
Full Spectrum

## Slide 34
Instrumentation
Hamamatsu Quantaurus-QY Spectrometer
MAC Lab
CSL 116
150 W Xenon arc lamp
250-850 nm excitation
CCD detector (200-950 nm)
450 W Xenon arc lamp
250-900 nm excitation
PMT detector (300-850 nm)
Edinburgh FLS980
Hanson Group
CSL 5306

## Slide 35
Set excitation l
Insert reference
  - holder + solvent
Irradiate Reference
Detect output across
- excitation and emission
5) Insert Sample
  Holder + solvent + sample
6) Repeat 3 and 4
Data Acquisition

## Slide 36
Absolute Quantum Yield

## Slide 37
Absolute Quantum Yield

## Slide 39
Self Absorption/Filter Effect
Anthracene

## Slide 40
Concentration (M)
Fluorescence intensity
Inner filter effect
If = Ff I0 (1-10-A)
Self Absorption/Filter Effect
FS
FR
=
IS
IR
x
(1-10-AR)
x
(1-10-AS)
nR2
nS2

## Slide 41
Single Crystal Measurements

## Slide 42
Quantum Yield and Lifetime
Intrinsic or natural lifetime (tn):
lifetime of the fluorophore in the absence of non-radiative processes
kr
tn =
1
Radiative Rate and Extinction Coefficient:
kr
=
tn
Substitution for photon flux and the relationship between kA and kr then (math happens):
Extinction Coefficient
Radiative Rate

## Slide 43: Relationship between absorption intensity and fluorescence lifetime
Strickler-Berg relation
The relation of the radiative lifetime of the molecule and the absorption
coefficient over the spectrum
n: refractive index of medium
: position of the absorption maxima in wavenumbers [cm-1]
: absorption coefficient
kr
=
tn
Strickler and Berg “Relationship between Absorption Intensity and Fluorescence Lifetime of Molecules” J. Chem. Phys. 1962, 37, 814.

## Slide 44: Relationship between Einstein A and B coefficients
Suppose a large number of molecules, immersed in a nonabsorbing medium with
refractive index n, to be within a cavity in some material at temperature T,
The radiation density within the medium is given by Planck’s blackbody radiation law,
By the definition of the Einstein transition probability coefficients,
the rate of molecules going from lower state 1 to upper state 2 by absorption of radiation,
N1a : number of molecules in state 1a
v 1a 2b : frequency of the transition
The rate at which molecules undergo this downward transition is given by
At equilibrium the two rates must be equal, so by equating (2) and (3),
-(2)
-(1)
-(3)
spontaneous emission probability
induced emission probability
Einstein transition probability coefficients
Blackbody Radiation

## Slide 45: Relationship between Einstein A and B coefficients
According to the Boltzmann distribution law, the numbers of molecules in the two
states at equilibrium are related by
Substitution of Eqs. (1) and (5) into (4) results in Einstein’s relation,
-(5)
-(4)
-(6)
Ratio of molecules in the ground and excited state

## Slide 46: Relationship B coefficient to Absorption coefficient
The radiation density in the light beam after it has passed a distance x cm through
the sample, the molar extinction coefficient can be defined by
C: concentration in moles per liter
If a short distance dx is considered, the change in radiation density may be
For simplicity, all the molecules will be assumed to be in the ground vibronic state,
The number of molecules excited per second with energy hv is given by
-(7)
-(8)
-(9)
Radiation Density
Photons per distance
Excitations/second

## Slide 47: Relationship B coefficient to Absorption coefficient
Combining Eqs. (7), (8), and (9), it is found
the probability that a molecule in state 10 will absorb of energy hv and go to some excited state
To obtain the probability of going to the state 2b, it must be realized that this can occur
with a finite range of frequencies, and Eq. (10) must be integrated over this range. Then
If the molecules are randomly oriented, the average probability of absorption for
a large number of molecules, Eq (2) give a similar relation to (11)
The probability coefficient for all transitions to the electronic state 2
-(10)
-(11)
-(12)
-(13)
-(2)
Probability of a single excitation transition
Probability for all excitation transitions

## Slide 48: Lifetime relationship for molecules
The wavefunctions of vibronic states are functions of both the electronic coordinates x
and the nuclear coordinates Q,
If M(x) is the electric dipole operator for the electrons, the probability for induced
Absorption or emission between two states is proportional to the square of the
Matrix element of M(x) between two states
Using (14), the integral in this expression can be
where
Electronic transition moment integral for the transition
Assuming the nuclei to be fixed in a position Q
-(14)
-(15)
Relating Excitation Probability to Relaxation Probability of atoms

## Slide 49
Lifetime relationship for molecules
It can be expand in a power series in the normal coordinates of the molecule
For strongly allowed transitions in a molecule, the zeroth-order term is dominant
Then (15) reduces to
Taking the appropriate sums, we find
Since the comprise a complete orthonormal set in Q space
-(16)
-(17)
-(18)
Expanding the model to molecules

## Slide 50
Lifetime relationship for molecules
By dividing by
It is desirable to be able to evaluate the term experimentally .
If the fluorescence band is narrow, v3 can be considered a constant and removed from
the summation, the remaining sum being equal to unity
The rate constant for emission from the lowest vibrational level of electronic state 2
to all vibrational levels of state 1, , can be written by using Eqs. (6) and (17)
-(19)
Relating relaxation probabilities to lifetime for a single transition

## Slide 51: Lifetime relationship for molecules
The sums over all vibronic bands can be replaced by integrals over the fluorescence
spectrum, so the expression reduces to
Now, by combining Eqs. (13), (18), and (19), we obtain
It is convenient to write this equation in terms of the more common units
g1 and g2 : degeneracies of the 1, 2 states
-(20)
-(21)
Expanding to all transitions
Finally a relationship between lifetime and extinction coefficient
Extinction Coefficient
Lifetime
kr

## Slide 52
Quantum Yield and Lifetime
Math happens:
kr = F/t
knr = (1 − F)/t
Intrinsic or natural lifetime (tn):
lifetime in the absence of non-radiative processes (F = 1)
kr
tn =
1
Experimental lifetime (t):
lifetime with radiative and non-radiative processes
kr + knr
t =
1
=
# of photons emitted
# of photons absorbed
Algebra happens:
F
=
tn
t
F and t from experiment, calculate kr and knr

## Slide 53
Same extinction coefficient
Same radiative rate
knr larger with I
kr = Φ/τ
knr = (1 − Φ)/τ
 | kr | knr
X = Br | 2.0 x 108 s-1 | 1.1 x 108 s-1
X= I | 2.1 x 108 s-1 | 1.4 x 109 s-1
Radiative vs Non-radiative

## Slide 54
Quantum Yield and Lifetime
Unquenched Emission
kr + kic + kET
F =
kr
kr + kic
F =
kr
1/(kr + kic)
t =
With an acceptor molecule
knr
t
F
1/(kr + kic + kET)
t =
kET

## Slide 55
Quantum Yield and Lifetime
Unquenched Emission
kr + kic + kq[C]
F =
kr
kr + kic
F =
kr
1/(kr + kic)
t =
With a quenching molecule
knr
t
F
1/(kr + kic + kq[C])
t =
[C]

## Slide 56
Side Note: Energy Gap Law
kr + knr
F =
kr
E
E0
E1
Large Gap
E
E0
E1
Small Gap
knr
knr
Higher energy absorption/emission
Lower energy absorption/emission

## Slide 57
Energy Gap Law
Poor overlap
Strong overlap
S0
S1
S0
S1
S0
S1
Energy Gap (DE)
knr

## Slide 58
Energy Gap Law
knr = 1013e-aDE (sec-1)
knr (1011 s-1)
833
667
555
476
416
cm-1
nm
Energy Gap
Energy Gap (DE)
knr
F
If you red shift emission efficiency goes down!

## Slide 59
Implications of Energy Gap Law
Organic Solar Cells
hn
C
A
C*
A
C+
A-
Excitation
Charge Separation
C*
A
kcs
knr
kcs + knr
h ∝
kcs
h = Solar cell efficiency

## Slide 60
Implications of Energy Gap Law
C*
A
kcs
knr
kcs + knr
h ∝
kcs
h Solar cell efficiency
To increase efficiency:
Decrease DE
Reduce knr
Increase kcs
Energy Gap (DE)
knr
h

## Slide 61
F =
Side Note: Photochemical Yield
# of reacted molecules
# of photons absorbed
Source
hn
Sample

## Slide 62
hn
hn
Reference
100% yield
hn
hn
Sample
?% yield
Variables
Photons/second/area
Wavelength
Absorption
Extinction Coefficient
F =
# of events
# of absorbed photons
# of absorbed photons = # of events
=
3
5
= 60% yield
From Actinometer
From NMR/UV-Vis/MS…
From NMR/UV-Vis/MS of the photoproduct…
F =
# of events
# of absorbed photons
Actinometry

## Slide 63
Quantum Yield End
Any Questions?